## Lab Inspection
NERI Safety Inspection Checklist
Date of Inspection:
Location of Lab:
Name of Inspectors:
| Status | Photos/Remarks | Action By | Dateline
Housekeeping/General Safety
Emergency exit doors and emergency passageways are not obstructed.
Combustible materials (e.g. carton boxes and papers) in the work-space are properly stored. e.g. a) Not stored on flammable safety cabinets b) Not stored near ignition source c) Not stored on the floor or stacked up to the ceiling d) Not stored close to the sprinklers
There are no tripping hazards (e.g. cable,wiring and tubing running across the walkways).
Lab Warning Signs are posted at the entrance to the laboratory.
No food and drink are allowed in the laboratory.
Waste are disposed into the appropriate bins.
Lab benches and other work areas are kept clean and tidy.
Fume hood is not cluttered.
Risk assessment are conducted for all hazardous activities.
Personal Protective Equipment
Appropriate PPE is available near work areas.
PPEs required for working in the work-space are abided by all personnel.
Electrical Safety
Work-space is free from unsafe electrical practices e.g. overloading of circuit, daisy- chaining.
Electrical equipment (including cords & adaptors) used in the workspace are not damaged
Electrical plug of equipment has one of the following labels - Safety Mark, BS 1363, BS 4573, BS EN 50075 or BS 546.
Radiation Safety (Ionizing and nonionizing)
A laser control area is established for use of laser which exposure is above the Permissible Exposure Limits (PELs): a. Laser barriers/filters & controlled access b. Warning sign at entry point c. Warning labels on laser system d. Suitable laser eyewear protection with appropriate OD for the relevant laser wavelength
Radiation Warning Signs are affixed at the entrance point, equipment and the containers storing isotopes.
Chemical Safety
Chemicals are stored in accordance to their chemical compatibility. E.g. flammables stored in flammable cabinet, Poisons and Explosive Precursors in their respective locked cabinets
All chemicals are labelled with user name, chemical name, concentration and date. GHS sticker is affixed for hazardous chemical.
Secondary containment is used for safe storage of chemicals and hazardous waste.
Flammable liquids and gases are stored away from oxidisers, heat and other ignition sources.
No obvious chemical residue on the outside of the bottle or shelves.
Hazardous chemicals are handled in the fume hood.
Biological Safety
Sharps are disposed in safe manner e.g. a) using puncture-proof containers b) no over-filling of container c) no re-capping of needles
Autoclaves are maintained & certified annually.
Biological samples are provided with the appropriate labels.
Emergency Preparedness
Emergency equipment are maintained periodically e.g. a) first aid box - monthly b) emergency eye wash - weekly c) emergency showers - monthly d) fire extinguishers - yearly
Emergency equipment are not obstructed.
Chemical / Biological Spill kits are available, accessible and maintained in the lab.
Gas Cylinder
Incompatible gases are segregated from one another (e.g. flammable gases and oxygen gas).
Gas cylinders are secured or chained to prevent from toppling or falling.
Gas detector is installed and maintained,where applicable.
Any Other Findings
Follow-up from Previous Inspection
Findings from the (previous) inspection have been rectified within the dateline. | Y/N/NA